## Worksheet1
Rule | Group | Type | Model | Class | Recurrence | Description | Comment
|  | Warning | MicroGrid_EQ | md:FullModel | 1/1 | The type of the model inferred from the contents (i.e. Equipment (Short Circuit)) is different from that specified by the header. (i.e. Equipment (Operation, Short Circuit)).
|  | Warning | MicroGrid_EQ |  | N/A | No TapChangerControls are found. None of the PowerTransformers are used for voltage regulation.
|  | Warning | MicroGrid_EQ | ShuntCompensator | N/A | No ShuntCompensator objects (i.e. LinearShuntCompensator, NonlinearShuntCompensator) are found, expecting at least 1.
|  | Warning | MicroGrid_EQ | ACLineSegment | 1/9 | At least one of the associated OperationalLimits is violated.
C:600:ALL:NA:EQBD2 | 600-1 | Warning | MicroGrid_EQ | BaseVoltage | 3/3 | The BaseVoltage is not defined in Boundary EQ.
C:600:ALL:NA:PROF10 | 600-1 | Error | MicroGrid_SV | md:FullModel | 1/1 | Unable to find the Topology model part this model is dependent on. Because of the missing or invalid model dependency description, the performed validation may be incomplete. | Due to CIMdesk Issue
|  | Warning | MicroGrid_SV | md:FullModel | 1/1 | unknown_type: 20210202T1930Z_1D_AA_TP_1 is unexpected to appear in the Model.DependentOn statements. | Due to CIMdesk Issue