## PowerFlow
Rule | Group | Type | Model | Class | Recurrence | Description | Comment
C:600:ALL:NA:PROF10 | 600-1 | Warning | PowerFlow_EQ | md:FullModel | 1/1 | For complete validation, the boundary set (BS) should be included. Otherwise references to BS could be reported as errors and some of the validation may not be performed.
|  | Warning | PowerFlow_EQ |  | N/A | No boundary connections are found. The IGM is an island without any inter-connections.
|  | Warning | PowerFlow_EQ | GeographicalRegion | 1/1 | None of the PowerTransformers in the GeographicalRegion are used for voltage regulation.
|  | Warning | PowerFlow_EQ | ShuntCompensator | N/A | No ShuntCompensator objects (i.e. LinearShuntCompensator, NonlinearShuntCompensator) are found, expecting at least 1.
C:600:EQ:Substation:count | 600-2 | Warning | PowerFlow_EQ | Substation | 2/2 | The number of Substations shall be less than the number of VoltageLevels.
C:600:EQ:Substation:count | 600-2 | Warning | PowerFlow_EQ | Substation | 2/2 | Each Substation contains a single VoltageLevel.
C:600:ALL:NA:PROF10 | 600-1 | Error | PowerFlow_SV | md:FullModel | 1/1 | Unable to find the Topology model part this model is dependent on. Because of the missing or invalid model dependency description, the performed validation may be incomplete. | Due to CIMdesk issue
|  | Warning | PowerFlow_SV | md:FullModel | 1/1 | unknown_type: PowerFlow_TP is unexpected to appear in the Model.DependentOn statements. | Due to CIMdesk issue